The Tamil Nadu Government has notified amendment in the TN Factories Rules 1950.  The notification is issued and major amendments are listed below for your reference

| S No | Rules No | Nature of Compliance | Existing provision | Amended Provision | Consequence, if any |
| --- | --- | --- | --- | --- | --- |
| 1 | 61 (10) (b) | First-aid fire-fighting arrangements | Classification of fire | Classification of fire extended | - |
| 2 | 61 (10) (c) |  | The number and types of first-aid firefighting equipment to be provided for light hazard occupancy shall be as given in Schedule I | The number and types of first-aid firefighting equipment to be provided shall be as per Bureau of Indian Standards recommendations on installation of fire-extinguishers | - |
| 3 | 61 (11) (a) | Water supply for fire-fighting | Calculation is given in the rule | new method is prescribed | - |
| 4 | 61 (15) | Plan of fire-fighting installations | - | Plan of fire-fighting installations should be submitted to IF, State Fire Director and local authority | Additional compliance |
| 5 | Schedule I | Fire fighting equipments | - | Amended | - |
| 6 | Rule 61 (K) (4) | Record of eye examination | The record of examination or re-examination carried out as required under sub-rule (1) shall be maintained in Form No. 38 | The record of examination or re-examination carried out by the concerned ophthalmologist shall be produced on demand | Form deleted |
| 7 | Rule 77 (4) | Register of compensatory holidays | Form No.9 | Muster roll in Form No.25 | Form deleted |
| 8 | Rule 80 | Register of Adult Workers | Form No.12 | Renamed as Register of Adult Workers and Young Persons | Renamed |
| 9 | Rule 86 | Register of Young person’s workers | Form No.14 | Renamed as Register of Adult Workers and Young Persons | Form deleted |
| 10 |  |  | ….shall maintain a register in Form No. 14 | …record the particulars of such young persons in the registers of adult workers and young persons in Form 12 | - |
| 11 | Rule 96 (3) | Report of Accident of dangerous occurrence | …..prescribed Form No. 18- A | ….prescribed in Form No.18 | Form amended |
| 12 | Rule 100 | Return | Form 21 - Half-yearly return Form 22 - Annual return | Form 22 - Annual return on or before 31st January | Half-yearly return withdrawn |
| 13 | Rule 104 | Register of accident and dangerous occurrence | - | Omitted | - |
| 14 | Rule 77 | Form No.9 | Register of compensatory holidays | Omitted | Register deleted |
| 15 | Rule 80 | Form No.12 | Register of adult workers | Amended | - |
| 16 | Rule 86 | Form No.14 | Register for young person workers | Omitted | - |
| 17 | Rule 96 | Form No.18 & Form No.18-A | Report of Accident & Report of dangerous occurrence | New Form No.18 inserted | Amended |
| 18 | Rule 103 | Form No.25 | Muster roll | New Form No.25 inserted | Amended |
| 19 | Rule 104 | Form No.26 | Register of accident | Omitted | Register deleted |
| 20 | Rule 104 | Form No.26-A | Register of dangerous occurrence | Omitted | Register deleted |
| 21 | Rule 95 | Form No.27 | Certificate of fitness | New Form No.27 inserted | - |
| 22 | Rule 95 Sch XX | Form No.27-A | Certificate of fitness for dangerous operations | Omitted | - |
| 23 | Rule 61-K | Form No.38 | Record of eye-examination | Omitted | - |